Esomeprazole Fast Releasing Tablet

Analytical Profile No.: Esmo FR 076/077/AP061

Esomeprazole Fast Releasing Tablet contains not less than 90 % and not more than 110 % of the stated amount of Esomeprazole

1. Identification:

In the assay, the principle peak in the chromatogram obtained with the sample solution should correspond to the peak in the chromatogram obtained with the reference standard solution.

2. Dissolution: Determine by liquid chromatography

2.1 Dissolution Parameters:

Medium: 900 ml of phosphate buffer pH 7.4 prepared by dissolving 40.8 g of potassium   dihydrogen orthophosphate and 9.36 g of sodium hydroxide in 6000 ml of water, mixing properly and adjusting pH 7.4 with sodium hydroxide or potassium dihydrogen orthophosphate.

Apparatus: Paddle

Speed and Time: 75 rpm & 30 minutes

Volume: 900 ml

Temperature: 37 ± 0.50 C

2.2. Chromatographic system

Column: 			C8 (150 x 4.6 mm), 5 µm column

Flow rate: 			1.0 ml/min

Wavelength: 			300 nm

Injection volume: 		10 µl

Column temperature: 	ambient

Detector: 			UV

Mobile phase: A mixture of equal volume of methanol and buffer solution prepared by dissolving 6.8 g of potassium dihydrogen phosphate and about 1 g of sodium hydroxide in 1000 ml of water, and adjusting pH to 7.0 with orthophosphoric acid

2.3 Test Solution

Determine the average weight of 20 tablets. Crush them into homogeneous mixture in mortar and pestle. Transfer carefully powder equivalent to 40 mg of Esomeprazole into 100 ml volumetric flask, add 70 ml of solvent mixture, shake gently to disperse, sonicate for 15 minutes, cool and make up the volume to the mark with solvent mixture. Centrifuge the solution at 2000 rpm for 10 minutes and further dilute 5 ml of the solution to 50 ml with the mobile phase.

2.4 Reference Solution

Transfer carefully about 44 mg of Esomeprazole Magnesium WS into 100 ml volumetric flask. Add 70 ml of solvent mixture, shake for few minutes and sonicate for 5 minutes; cool and make up the volume to 100 ml with the solvent mixture. Further dilute 5 ml of this solution to 50 ml with the mobile phase.

2.5 Procedure:

Inject the reference solution. The test is not valid unless the column efficiency is not less than 2000 theoretical plates. The tailing factor is not more than 2.0 and the relative standard deviation for replicate injections in not more than 2.0 %.

2.6 Limit:

D. NLT 75.0 % of the stated amount

3. Uniformity of Content:

Determine by liquid chromatography, as described in the Assay, using the following solution as the test solution.

Test solution:

Weigh 10 tablets and transfer each into 100 ml volumetric flask. Add 70 ml of solvent mixture shake to disperse, sonicate for 15 minutes; cool and make up the volume to the mark with solvent mixture. Centrifuge the solution at 2000 rpm for 10 minutes and further dilute 5 ml of this solution to 50 ml with the mobile phase. Finally filter the solution through 0.2 micron filter paper.

4. Assay: Determine by liquid chromatography

4.1 Chromatographic system:

Column:			 C8, (150*4.6 mm), 5 µm column

Flow rate:			 1.0 ml/min

Wave length: 			 300 nm

Injection volume: 		 10 µl

Column Temperature:	 Ambient

Detector:			UV

Solvent Mixture: Methanol

Mobile Phase: A mixture of equal volume of methanol and buffer solution prepared by dissolving 6.8 g of potassium dihydrogen phosphate and about 1 g of sodium hydroxide in 1000 ml of water, and adjusting pH to 7.0 with orthophosphoric acid.

4.2 Test Solution:

Determine the average weight of 20 tablets. Crush them into homogeneous mixture in mortar and pestle. Transfer carefully powder equivalent to 40 mg of Esomeprazole into 100 ml volumetric flask, add 70 ml of solvent mixture, shake gently to disperse, sonicate for 15 minutes, cool and make up the volume to the mark with solvent mixture. Centrifuge the solution at 2000 rpm for 10 minutes and further dilute 5 ml of the solution to 50 ml with the mobile phase.

4.3 Reference Solution:

Transfer carefully about 44 mg of Esomeprazole Magnesium WS into 100 ml volumetric flask. Add 70 ml of solvent mixture, shake for few minutes and sonicate for 5 minutes; cool and make up the volume to 100 ml with the solvent mixture. Further dilute 5 ml of this solution to 50 ml with the mobile phase.

4.4 Procedure:

Inject the reference solution. The test is not valid unless the column efficiency is not less than 2000 theoretical plates. The tailing factor is not more than 2.0 and the relative standard deviation for replicate injections in not more than 2.0%.

5. Other tests: As per pharmacopoeial requirement